## Sheet1
Test data: Driveway 2
Run 1: smooth concrete, shade
Camera height 37 cm
| Calibration using calibration images with tape in image | [5 empty] | * calibration using tape measure with calibration marks plotted on image
(roadTest2_cal.m)
|  | image width | image height | image width | image height |  | line 1 | line 2 | dy
| meters | 0.256 | 0.345 |  |  |  | 0.508 | 0.77 | 0.262
| pixels | 1200 | 1600 |  |  |  | 1300 | 114 | 1186
| resolution | 4687.5 | 4637.6812 | [5 empty] | 4526.7176
template | image position on tape |  | image shift | image shift
image | image 1 | image 2 | measured |  | retrieved |  |  | snr
# | registration | registration | shift |  | shift | error | error
| m | m | m | pix | pix | pix | m | dB
5037 | 0.508 | 0.77 | 0.262 | 1186 | 1182 | -4 | -0.00088364 | 3.38
5047 | 0.483 | 0.606 | 0.123 | 556.7863 | 554 | -2.7863 | -0.00061551 | 3.26
5056 | 0.894 | 1.014 | 0.12 | 543.2061 | 542 | -1.2061 | -0.00026644 | 2.81
5101 | 1.015 | 1.132 | 0.117 | 529.626 | 526 | -3.626 | -0.00080101 | 3.23
5107 | 1.132 | 1.25 | 0.118 | 534.1527 | 532 | -2.1527 | -0.00047555 | 2.94
5114 | 1.25 | 1.386 | 0.136 | 615.6336 | 620 | 4.3664 | 0.00096459 | 2.61
[6 empty] | mean | -0.34626 | mm
[6 empty] | std | 0.62041 | mm
* This method was used to calibrate pixel resolution for the above results